## Readme
Description of Worksheet 1
Version Date: 6/8/2016
PURPOSE
This worksheet is intended to itemize sources of potable water supply to be entered in Step 2 of the Water Supply Reliability Certification Form for Urban Water Suppliers. Rows can be added to the Worksheet. Either in this worksheet or in the supporting document include an itemized list of all water sources that are included as sources of supply in your self-certification calculation.
The completed Worksheet 1 is upload with your Water Supply Reliability Form. Information must be submitted by June 22, 2016.
Upload the completed worksheet (Step 5 of the online Water Supply Reliability Certificaiton and Data Submission Form):
http://drinc.ca.gov/dnn/applications/publicwatersystems/waterreliabilitycertification.aspx
HOW TO USE WORKSHEET 1
Identify each source of supply that your water system intends to rely on for potable water and the quantity of water available for the time period. The current conditions to use in calculations are as of October 1, 2016.
• The precipitation in WY 2017 mirrors that of WY 2013, precipitation in WY 2018 mirrors that of WY 2014, precipitation in WY 2019 mirrors that of WY 2015. (Section 864.5(b)(1)). Only precipitation data from the California Data Exchange Center (e.g., http://cdec.water.ca.gov/cgi-progs/prevprecip/PRECIPOUT), or California Irrigation Management Information System (CIMIS) http://wwwcimis.water.ca.gov/Default.aspx.), or an equivalent source may be used. Do not average precipitation.
• Potable water supply only includes water sources of supply available to the supplier that could realistically be used for potable drinking water purposes.
• If a water source is not of sufficient quality to be realistically treated and use as potable water by the water retailer, it shall not be included as a water supply.
• Consider requirements and assumptions that are used that impact supply reliability, for example, in the case of groundwater, if your water agency has its own requirement not to lower the water level of an aquifer below a certain amount, provide an explanation in the “Notes and comments”.
• Groundwater: use the quantity of groundwater that is accessible, without addition of new wells or completion of treatment projects that would fall outside the three-year projection period (2016-17 through 2018-19).
• If new diversions or treatment equipment or facilities will come on-line between now until the end of 2019, sufficient evidence must be provided to indicate is it going to be implemented (e.g., funds have been allocated, contract with a builder has been approved).
• If a water supply is dedicated for another purpose (e.g., agriculture) and is therefore committed for another use, it is not available and shall be subtracted for the subtotal of water supplies.
• Identify all sources of data used (e.g., “our water product information from Supervisor Control and Data Acquisition (SCADA)” and included a link to the source).
• Provide supporting documentation the covers each water source. For example, when the amount of water obtained from a river is summed in one number and there are multiple source points, then the supporting documentation shall describe each collection point and the amount of water from each source that are summed together and equal the amount provided on the worksheet.
Follow any instructions on each tab. Some prompts are generated in red font and may require further user input.
LAYOUT OF WORKSHEET 1
This worksheet contains two tabs to be completed. The tabs are summarized below:
|  | Worksheet No. | Description | User Actions
|  | 1. Worksheet 1 | Enter Water Supply Information | Enter potable water supply information
|  | 2. Groundwater | Answer groundwater questions | Answer questions only if relying on local groundwater sources
The following cell color-coding format is used to direct the user as to how a cell functions and where the user can or should enter data.
CELL LEGEND:
|  | Cell Type | Cell Color
|  | User Input | Users provide inputs to yellow colored cells or may have a drop-down menu to select an option
|  | Autogenerated Value | NO ACTION: Green-colored cells are contain values based on formulas
>>> CLICK ON TAB "1. Worksheet 1" TO BEGIN

## 1. Worksheet 1
Worksheet 1 : Total available water supply for individual water supplier
Step 2 of Water Supply Reliability Certification and Data Submission Form
| Select supplier | << Enter name of urban water supplier
| User Input Instructions |  |  | LEGEND:
| (1) Please select units of measure from the dropdown menu. |  |  | User Input or Selection
| (2) Enter information on available water supplies and supplies committed to other uses. |  |  | Linked from User Input
| Select units from menu | << Select units of measure
Available Water Supplies
| Sources of Supply | Name of Provider(s) or Description | Source used in prior years? | Water Available in |  |  | Wholesaler information | Wholesaler Water System Number**
|  |  |  | WY 2017 * | WY 2018 * | WY 2019 | Direct Web Link
WHOLESALER SUPPLIED >> Provide direct web link(s) to information on the volume of water the wholesaler expects to deliver to the retailer water supplier in each year.
| Wholesaler 1 | Foothill Municipal Water District | Yes | 2305 | 2345 | 2375 | http://www.fmwd.com/resources/documents/reports/SWRCB-Foothill-MWD-Analysis-and-Supporting-Documentation.pdf | 1910032
| Wholesaler 2 |  | Select Y/N
| Wholesaler 3 |  | Select Y/N
| Wholesaler 4 |  | Select Y/N
| Wholesaler 5 |  | Select Y/N | [5 empty] | << To add more wholesaler-suplied sources, insert as many rows as needed above this line.
SELF-SUPPLIED
| Water Recycling (potable) |  | Select Y/N
| Surface water: SWP |  | Select Y/N
| Surface water: CVP |  | Select Y/N
| Surface water: Colorado River |  | Select Y/N
| Surface water: other (describe) |  | Select Y/N
| Surface water: other (describe) |  | Select Y/N
| Local Groundwater | Crescenta Valley Water Distrcit | Yes | 2885.9 | 2539.4 | 2459.1 | << Complete groundwater tab
| Seawater Desalination |  | Select Y/N
| Transfers |  | Select Y/N
| Exchanges |  | Select Y/N
| Other (describe): |  | Select Y/N |  |  |  | << To add more self-suplied sources, insert as many rows as as needed above this line.
|  | SUBTOTAL of available supplies (in units selected) |  | 5190.9 | 4884.4 | 4834.1
* Any carryover from one year is incorporated in the supply of the following year, as legally allowed.
** Look up Water system number at this link: https://sdwis.waterboards.ca.gov/PDWW/
Rows can be inserted to account for other sources of supply (e.g., desalination of brackish water, banked water)
i | If a source has not been used in prior years, e.g., a new treatment facility will be constructed, supporting documentation must document when the new source will be fully implemented.
Water Supplies Committed to Other Uses (Not Available)
| Other Uses | Describe |  | Quantity in WY 2017 | Quantity in WY 2018 | Quantity in WY 2019
Agriculture
Commercial, industrial or institutional
New residential customers
Transfers
Other:
Other:
|  | SUBTOTAL of supplies not available (in units selected) |  | 0 | 0 | 0
| TOTAL available water supply (in units selected) |  |  | 5190.9 | 4884.4 | 4834.1
(Subtotal of available supplies minus subtotal of supplies committed to other uses)
>>> Please enter values calculated below in Step 2 of the online form
| TOTAL available water supply converted to acre feet |  |  | FALSE | FALSE | FALSE
>> If error, verify you have selected units of measure

## 2. Groundwater
<< Complete groundwater tab
If using local groundwater sources, answer questions below
Complete only if relying on local groundwater for a portion of supply (not brackish groundwater desalination or banking)
Do you know the volume of water in the aquifer that is in your source(s) of groundwater?
Pick one: | No |  | Optional notes and comments:
All of the District’s wells are located in the Verdugo sub-basin of the San Fernando Basin, which is adjudicated. The safe yield of the Verdugo Basin as determined by the adjudication is 7,150 acre-feet per year of which 3,294 acre-feet per year was granted to the District. If all of the District’s wells are operating, the District has the ability to pump approximately 4,900 acre-feet per year, which is more than the District’s entitlement. This amount includes Well 16, which was just placed into service in February of 2016. The District entered into an agreement with the City of Glendale in 2016 to lease their water rights such that it will allow the District to pump an additional 600 acre-feet per year bringing the water available to pump to 3,894 acre-feet per year.
How frequently are groundwater elevations monitored?
Pick one: | monthly |  | Optional notes and comments:
Static water levels are measured monthly and are included in supporting doucmentation.
At what depth is/was your water table? (in feet) Do not average values for multiple basins, management zones, or wells.
If there are multiple wells, enter the depth for the source where the largest portion of supply comes from; itemize information in the notes or supporting documentation.
In June 2016 | 1120 | feet
In June 2013 | 1123 | feet | Optional notes and comments:
Well 14 is used as the "Source Well" All of the Distrcit's wells are contained within the Verdugo Basin a subbasin of the San Fernanado Basin. this basin is fully adjuciated with only CVWD and Glendale Water and Power having pumping rights. Static Levels for all of the Distrct's wells in the Basin are measued on a monthly basis and included in the supporting doumentation.
How many feet can you withdraw without substantially affecting your ability to pump water? (in feet)
If there are multiple wells, enter the depth for the source where the largest portion of supply comes from as a representative well; provide additional information in the notes or supporting documentation.
| 10 | feet | Optional notes and comments:
Currently Well 5 is our largest producing Well. In 2013, this well was producing at about 317.6 gallons per minute. Currently it is producing about 300 gpm. Should the groundwater basin drop more than 10', major work would be needed to drop the pump on Well 5.
Do you have groundwater that you expect to sell or distribute to another water supplier that is not accounted for in your calculations?
Pick one: | No |  | Describe:
>>> Thank you.

## menus (hidden)
| Select units from menu |  | Select Y/N |  | Select supplier
| gallons (G) |  | Yes | daily | Adelanto City of
| million gallons (MG) |  | No | monthly | Alameda County Water District
| acre feet (AF) |  |  | quarterly | Alco Water Service
| one hundred cubic feet (CCF) |  |  | bi-annual | Alhambra City of
|  |  |  | annual | Amador Water Agency
|  |  |  | not monitored | American Canyon, City of
Anaheim City of
Anderson, City of
Antioch City of
500 | convert to acre feet |  |  |  | Apple Valley Ranchos Water Company
| G | 0.0015344 |  |  | Arcadia City of
| MG | 1534.4416 |  |  | Arcata City of
| AF | 500 |  |  | Arroyo Grande City of
| CCF | 1.1478 |  |  | Arvin Community Services District
Atascadero Mutual Water Company
Atwater City of
Azusa City of
Bakersfield City of
Bakman Water Company
Banning City of
Beaumont-Cherry Valley Water District
Bella Vista Water District
Bellflower-Somerset Mutual Water Company
Benicia City of
Beverly Hills City of
Big Bear City Community Services District
Blythe City of
Brawley City of
Brea City of
Brentwood City of
Buena Park City of
Burbank City of
Burlingame City of
Calaveras County Water District
Calexico City of
California City City of
California Water Service Company Antelope Valley
California Water Service Company Bakersfield
California Water Service Company Bear Gulch
California Water Service Company Chico District
California Water Service Company Dixon, City of
California Water Service Company Dominguez
California Water Service Company East Los Angeles
California Water Service Company Hermosa/Redondo
California Water Service Company Kern River Valley
California Water Service Company King City
California Water Service Company Livermore
California Water Service Company Los Altos/Suburban
California Water Service Company Marysville
California Water Service Company Mid Peninsula
California Water Service Company Oroville
California Water Service Company Palos Verdes
California Water Service Company Redwood Valley
California Water Service Company Salinas District
California Water Service Company Selma
California Water Service Company South San Francisco
California Water Service Company Stockton
California Water Service Company Visalia
California Water Service Company Westlake
California Water Service Company Willows
California-American Water Company Los Angeles District
California-American Water Company Monterey District
California-American Water Company Sacramento District
California-American Water Company San Diego District
California-American Water Ventura District
Camarillo City of
Cambria Community Services District
Camrosa Water District
Carlsbad Municipal Water District
Carmichael Water District
Carpinteria Valley Water District
Casitas Municipal Water District
Castaic Lake Water Agency Santa Clarita Water Division
Ceres City of
Cerritos City of
Chino City of
Chino Hills City of
Citrus Heights Water District
City of Big Bear Lake, Dept of Water & Power
City of Newman Water Department
Clovis City of
Coachella City of
Coachella Valley Water District
Coalinga City of
Coastside County Water District
Colton, City of
Compton City of
Contra Costa Water District
Corcoran, City of
Corona City of
Covina City of
Crescent City City of
Crescenta Valley Water District
Crestline Village Water District
Cucamonga Valley Water District
Daly City City of
Davis City of
Del Oro Water Company
Delano City of
Desert Water Agency
Diablo Water District
Dinuba City of
Discovery Bay Community Services District
Downey City of
Dublin San Ramon Services District
East Bay Municipal Utilities District
East Niles Community Service District
East Orange County Water District
East Palo Alto, City of
East Valley Water District
Eastern Municipal Water District
El Centro City of
El Dorado Irrigation District
El Monte City of
El Segundo City of
El Toro Water District
Elk Grove Water Service
Elsinore Valley Municipal Water District
Escondido City of
Estero Municipal Improvement District
Eureka City of
Exeter City of
Fair Oaks Water District
Fairfield City of
Fallbrook Public Utility District
Fillmore City of
Folsom City of
Fortuna City of
Fountain Valley City of
Fresno City of
Fruitridge Vista Water Company
Fullerton City of
Galt City of
Garden Grove City of
Georgetown Divide Public Utilities District
Gilroy City of
Glendale City of
Glendora City of
Golden State Water Company Artesia
Golden State Water Company Barstow
Golden State Water Company Bay Point
Golden State Water Company Bell-Bell Gardens
Golden State Water Company Claremont
Golden State Water Company Cordova
Golden State Water Company Cowan Heights
Golden State Water Company Culver City
Golden State Water Company Florence Graham
Golden State Water Company Norwalk
Golden State Water Company Orcutt
Golden State Water Company Placentia
Golden State Water Company S Arcadia
Golden State Water Company S San Gabriel
Golden State Water Company San Dimas
Golden State Water Company Simi Valley
Golden State Water Company Southwest
Golden State Water Company West Orange
Goleta Water District
Great Oaks Water Company Incorporated
Greenfield, City of
Groveland Community Services District
Grover Beach City of
Hanford City of
Hawthorne City of
Hayward City of
Healdsburg City of
Helix Water District
Hemet City of
Hesperia Water District City of
Hi-Desert Water District
Hillsborough Town of
Hollister City of
Humboldt Bay Municipal Water District
Humboldt Community Service District
Huntington Beach City of
Huntington Park City of
Imperial, City of
Indian Wells Valley Water District
Indio City of
Inglewood City of
Irvine Ranch Water District
Joshua Basin Water District
Jurupa Community Service District
Kerman, City of
Kingsburg, City of
La Habra City of Public Works
La Palma City of
La Verne City of
Laguna Beach County Water District
Lake Arrowhead Community Services District
Lake Hemet Municipal Water District
Lakeside Water District
Lakewood City of
Lamont Public Utility District
Las Virgenes Municipal Water District
Lathrop, City of
Lee Lake Water District
Lemoore City of
Lincoln City of
Lincoln Avenue Water Company
Linda County Water District
Livermore City of Division of Water Resources
Livingston City of
Lodi City of Public Works Department
Loma Linda City of *
Lomita City of
Lompoc City of
Long Beach City of
Los Angeles County Public Works Waterworks District 29
Los Angeles County Public Works Waterworks District 40
Los Angeles Department of Water and Power
Los Banos, City of
Lynwood City of
Madera City of
Mammoth Community Water District
Manhattan Beach City of
Manteca City of
Marin Municipal Water District
Marina Coast Water District
Martinez City of
McKinleyville Community Service District
Menlo Park City of
Merced City of
Mesa Water District
Mid-Peninsula Water District
Millbrae City of
Milpitas City of
Mission Springs Water District
Modesto, City of
Monrovia City of
Monte Vista Water District
Montebello Land and Water Company
Montecito Water District
Monterey Park City of
Morgan Hill City of
Morro Bay City of
Moulton Niguel Water District
Mountain House Community Services District
Mountain View City of
Myoma Dunes Mutual Water Company
Napa City of
Nevada Irrigation District
Newhall County Water District
Newport Beach City of
Nipomo Community Services District
Norco City of
North Coast County Water District
North Marin Water District
North Tahoe Public Utility District
Norwalk City of
Oakdale City of
Oceanside City of
Oildale Mutual Water Company
Olivehurst Public Utility District
Olivenhain Municipal Water District
Ontario City of
Orange City of
Orange Vale Water Company
Orchard Dale Water District
Otay Water District
Oxnard City of
Padre Dam Municipal Water District
Palmdale Water District
Palo Alto City of
Paradise Irrigation District
Paramount City of
Park Water Company
Pasadena City of
Paso Robles City of
Patterson City of
Perris, City of
Petaluma City of
Phelan Pinon Hills Community Services District
Pico Rivera City of
Pico Water District
Pinedale County Water District
Pismo Beach City of
Pittsburg City of
Placer County Water Agency
Pleasanton City of
Pomona City of
Port Hueneme City of
Porterville City of
Poway City of
Quartz Hill Water District
Rainbow Municipal Water District
Ramona Municipal Water District
Rancho California Water District
Red Bluff City of
Redding City of
Redlands City of
Redwood City City of
Reedley City of
Rialto City of
Rincon Del Diablo Municipal Water District
Rio Linda - Elverta Community Water District
Rio Vista, city of
Ripon City of
Riverbank City of
Riverside City of
Riverside Highland Water Company
Rohnert Park City of
Rosamond Community Service District
Roseville City of
Rowland Water District
Rubidoux Community Service District
Rubio Canyon Land and Water Association
Sacramento City of
Sacramento County Water Agency
Sacramento Suburban Water District
San Bernardino City of
San Bernardino County Service Area 64
San Bernardino County Service Area 70J
San Bruno City of
San Buenaventura City of
San Clemente City of
San Diego City of
San Dieguito Water District
San Fernando City of
San Francisco Public Utilities Commission
San Gabriel County Water District
San Gabriel Valley Fontana Water Company
San Gabriel Valley Water Company
San Jacinto City of
San Jose City of
San Jose Water Company
San Juan Capistrano City of
San Juan Water District
San Lorenzo Valley Water District
San Luis Obispo City of
Sanger City of
Santa Ana City of
Santa Barbara City of
Santa Clara City of
Santa Cruz City of
Santa Fe Irrigation District
Santa Fe Springs City of
Santa Margarita Water District
Santa Maria City of
Santa Monica City of
Santa Paula City of
Santa Rosa City of
Scotts Valley Water District
Seal Beach City of
Shafter City of
Shasta Lake City of
Sierra Madre City of
Soledad, City of
Sonoma City of
Soquel Creek Water District
South Coast Water District
South Feather Water and Power Agency
South Gate City of
South Pasadena City of
South Tahoe Public Utilities District
Stockton City of
Suburban Water Systems San Jose Hills
Suburban Water Systems Whittier/La Mirada
Suisun-Solano Water Authority
Sunny Slope Water Company
Sunnyslope County Water District
Sunnyvale City of
Susanville City of
Sweetwater Authority
Sweetwater Springs Water District
Tahoe City Public Utilities District
Tehachapi, City of
Thousand Oaks City of
Torrance City of
Trabuco Canyon Water District
Tracy City of
Triunfo Sanitation District / Oak Park Water Service
Truckee-Donner Public Utilities District
Tulare, City of
Tuolumne Utilities District
Turlock City of
Tustin City of
Twentynine Palms Water District
Ukiah City of
Upland City of
Vacaville City of
Valencia Water Company
Vallecitos Water District
Vallejo City of
Valley Center Municipal Water District
Valley County Water District
Valley of the Moon Water District
Valley Water Company
Vaughn Water Company
Ventura County Waterworks District No 1
Ventura County Waterworks District No. 8
Vernon City of
Victorville Water District
Vista Irrigation District
Walnut Valley Water District
Wasco City of
Watsonville City of
West Kern Water District
West Sacramento City of
West Valley Water District
Westborough Water District
Western Municipal Water District of Riverside
Westminster City of
Whittier City of
Windsor, Town of
Winton Water & Sanitary District
Woodland City of
Yorba Linda Water District
Yreka, City of
Yuba City City of
Yucaipa Valley Water District